## About
Office of the State Engineer — Middle Rio Grande Water Master — ABCWUA Water Rights Accounting
About this workbook
The New Mexico Office of the State Engineer Middle Rio Grande Water Master annually accounts for the utilization of the Albuquerque Bernalillo County Water Utility Authority's (ABCWUA) water rights portfolio — principally verifying that what ABCWUA diverted in a given year was within its permitted rights, and that stream depletions caused by groundwater pumping were offset by available credits. The Water Master's reports are based on data submitted annually by ABCWUA under permit conditions. This workbook contains the main accounting table from each annual report for the period 2010–2022, copied as individual sheets and consolidated in the All Variables sheet.
Water rights permits tracked in each report
SP-4830 — San Juan-Chama Drinking Water Project
OSE surface water permit issued July 8, 2004 (final revised order December 2014). Water is diverted at an adjustable dam near the Alameda Bridge, pumped to the Surface Water Treatment Plant near the Renaissance Center, and distributed as potable water. The permit authorizes diversion of SJC water paired with an equal volume of native Rio Grande water, subject to numerous conditions including mandatory curtailment during low-flow periods. SJC water meets consumptive demand. The paired native Rio Grande water passes through the system as drinking water that becomes sewage, is treated at the Southside Water Reclamation Plant, and is discharged to the river — it is not credited as a return flow offset.
SP-4819 — North I-25 Non-Potable Surface Water Reuse Project
OSE surface water permit authorizing diversion of SJC water from the Rio Grande via horizontal collector wells screened beneath the riverbed. Water is chlorinated at the point of diversion and delivered through the North I-25 non-potable pipeline to the Arroyo del Oso nonpotable reservoir. The project began diversions in July 2003 and reached full operations in January 2004. Diverted water is blended with pretreated industrial wastewater and distributed through the purple-pipe non-potable system for irrigation of parks and golf courses including Balloon Fiesta Park and Arroyo del Oso Golf Course. The North I-25 pipeline and Arroyo del Oso reservoir also serve as the conveyance infrastructure for the USR-2 Bear Canyon aquifer storage and recovery project.
RG-4462 — Corrales Trunk Well Field
OSE groundwater permit for up to 14 existing and future wells in the Corrales trunk — a well field collector system west of the Rio Grande in Sandoval County. The permit and wells came to ABCWUA through condemnation of New Mexico Utilities, Inc. (NMUI) by eminent domain, filed January 19, 2007, on the grounds that NMUI was not properly managing the water utility, was harming the Rio Grande water basin, and was improperly utilizing certain return flow credits. Maximum permitted diversion is 10,000 af/yr. Stream depletions attributed to RG-4462 pumping are reported via annual OSE memo. RG-4462 first appears in this dataset in the 2011 report.
RG-960 — Municipal Groundwater Permit
OSE groundwater permit covering the City of Albuquerque's municipal water supply wells distributed across multiple well fields throughout the metropolitan area. The permit predates the Drinking Water Project; groundwater was Albuquerque's sole potable supply until the Surface Water Treatment Plant came online in December 2008. Maximum permitted diversion is 155,000 af/yr from the Santa Fe Group aquifer. Stream depletions attributed to RG-960 pumping are reported via annual OSE memo. Offsets against modeled depletions are drawn from return flows, vested and pre-basin groundwater rights, acquired pre-1907 surface water rights, and surplus SJC releases from Abiquiu.
USR-2 — Bear Canyon Arroyo Aquifer Storage and Recovery
OSE Underground Storage and Recovery permit. Source water and conveyance infrastructure are shared with SP-4819: SJC water is chlorinated at the Rio Grande diversion point, pumped through the North I-25 non-potable pipeline to the Arroyo del Oso reservoir, then released into an unlined half-mile segment of Bear Canyon Arroyo. Water infiltrates through the streambed and vadose zone into the Santa Fe Group aquifer. Because infiltration rather than direct injection is used, drinking water treatment standards do not apply prior to recharge. The project is capped at 3,000 af/yr. Recharge occurs October through March. Stored water is credited against SP-4819 offset obligations upon recovery. Pilot recharge in 2008–2009 established an initial storage account of 1,073 af.
USR-4 — DWTP Large-Scale Aquifer Storage and Recovery
OSE Underground Storage and Recovery permit for aquifer storage and recovery at the Drinking Water Treatment Plant site near the Renaissance Center. Source water is treated SJC potable water. A demonstration using Webster Well 1 was conducted in 2013. USR-4 first appears in this dataset in the 2019 report.
Annual report summaries
2010 — RG-4462 not yet reported. SP-4830: 42,804 af diverted (21,402 af SJC / 21,402 af native RG). SJC over-release: 930 af, fully applied to SP-4819. SP-4819: 2,295 af diverted; balance requiring offset 1,365 af; 596 af recharged to USR-2. RG-960: 60,181 af diverted; depletions 71,062 af; total offsets 60,325 af; RG-960 offsets exceeded depletions by 10,737 af. Total offset required not reported.
2011 — First year RG-4462 reported (5,022 af). SP-4830: 41,281 af diverted; SJC over-release 3,834 af. SP-4819: 2,614 af diverted; fully offset. RG-960: 57,152 af diverted; depletions 65,686 af; total offsets 60,002 af; balance requiring offset 5,685 af. Total offset required: 5,685 af.
2012 — SP-4830: 43,080 af diverted; SJC over-release 4,132 af, capped at 3,000 af available for offsets. SP-4819: 2,866 af diverted; fully offset. RG-4462: 3,917 af diverted. RG-960: 55,593 af diverted; depletions 65,444 af; total offsets 66,567 af. Total offset required: 0.
2013 — SP-4830: 39,929 af diverted; SJC over-release 3,708 af, capped at 3,000 af. SP-4819: 2,614 af diverted; fully offset. RG-4462: 3,867 af diverted; balance requiring offset 1,127 af. RG-960: 52,050 af diverted; depletions 64,359 af; balance requiring offset 2,701 af. Total offset required: 3,828 af.
2014 — SP-4830: 56,607 af diverted; SJC over-release 2,720 af. SP-4819: 2,794 af diverted; balance requiring offset 74 af; 152 af recharged to USR-2. RG-4462: 3,104 af diverted; balance requiring offset 1,761 af. RG-960: 36,147 af diverted; depletions 62,380 af; balance requiring offset 13,367 af. Total offset required: 15,202 af.
2015 — SP-4830: 48,702 af diverted; SJC over-release 595 af. SP-4819: 2,638 af diverted; balance requiring offset 2,043 af; 370 af recharged to USR-2. USR-2: 1,077 af recovered; end of year balance 501 af. RG-4462: 2,550 af diverted; balance requiring offset 1,520 af. RG-960: 37,857 af diverted; depletions 60,627 af; balance requiring offset 7,946 af. Total offset required: 11,509 af.
2016 — SP-4830: 61,274 af diverted; SJC over-release 1,394 af. SP-4819: 2,849 af diverted; balance requiring offset 1,455 af; 271 af recharged to USR-2. RG-4462: 2,403 af diverted; balance requiring offset 1,536 af. RG-960: 30,432 af diverted; depletions 58,532 af; balance requiring offset 10,598 af. Total offset required: 13,589 af.
2017 — SP-4830: 65,776 af diverted; SJC over-release 2,321 af. SP-4819: 2,890 af diverted; balance requiring offset 569 af; 292 af recharged to USR-2. RG-4462: 3,482 af diverted; balance requiring offset 972 af. RG-960: 25,328 af diverted; depletions 56,106 af; balance requiring offset 11,406 af. Total offset required: 12,947 af.
2018 — SP-4830: 48,301 af diverted; SJC over-release 13,141 af. SP-4819: 3,028 af diverted; fully offset; 379 af recharged to USR-2. RG-4462: 2,336 af diverted; balance requiring offset 971 af. RG-960: 41,252 af diverted; depletions 55,741 af; total offsets 71,205 af; fully offset. Total offset required: 971 af.
2019 — First year USR-4 reported. SP-4830: 62,621 af diverted; SJC over-release 1,572 af. SP-4819: 2,971 af diverted; balance requiring offset 1,399 af; 272 af recharged to USR-2. USR-4: 111 af recharged. RG-4462: 3,095 af diverted; balance requiring offset 682 af. RG-960: 24,500 af diverted; depletions 52,481 af; balance requiring offset 8,038 af. Total offset required: 10,120 af.
2020 — SP-4830: 31,475 af diverted; SJC over-release 5,532 af. SP-4819: 2,968 af diverted; fully offset; 87 af recharged to USR-2. USR-4: 587 af recharged; 7 af recovered. RG-4462: 2,939 af diverted; balance requiring offset 648 af. RG-960: 59,442 af diverted; depletions 54,739 af; fully offset. Total offset required: 648 af.
2021 — SP-4830: 23,870 af diverted; SJC over-release 1,330 af. SP-4819: 1,312 af diverted; fully offset; 121 af recharged to USR-2. USR-4: 919 af recharged; 2 af recovered. RG-4462: 3,958 af diverted; fully offset. RG-960: 66,558 af diverted; depletions 56,235 af; fully offset. Total offset required: 0.
2022 — Corrected draft. SP-4830: 40,092 af diverted; SJC over-release 750 af. SP-4819: 2,181 af diverted; balance requiring offset 1,431 af; 338 af recharged to USR-2. USR-4: 1,547 af recharged; 233 af recovered; end of year balance 2,901 af. RG-4462: 3,734 af diverted; fully offset. RG-960: 47,348 af diverted; depletions 54,655 af; balance requiring offset 1,473 af. Total offset required: 2,904 af.
2023 — SP-4830: 46,938 af diverted; SJC over-release 474 af. SP-4819: 2,444 af diverted; balance requiring offset 1,970 af; 261 af recharged to USR-2. RG-4462: 3,940 af diverted; fully offset. RG-960: 42,016 af diverted; depletions 52,931 af; balance requiring offset 3,295 af. USR-4: 2,031 af recharged; 248 af recovered; end of year balance 4,677 af. Total offset required: 5,265 af.
2024 — SP-4830: 36,066 af diverted; SJC over-release 791 af. SP-4819: 2,935 af diverted; balance requiring offset 2,144 af; 457 af recharged to USR-2. RG-4462: 4,295 af diverted; fully offset. RG-960: 48,976 af diverted; depletions 52,561 af; fully offset. USR-4: 173 af recharged; end of year balance 4,849 af. Total offset required: 2,144 af.

## All Variables
ABCWUA Comprehensive Permit Accounting — All Variables by Year (2024 to 2010)
All volumes in acre-feet (af). Variables mapped from canonical 2022 structure back to 2010. — = not reported or not applicable in that year.
Section | Variable | 2024 | 2023 | 2022 | 2021 | 2020 | 2019 | 2018 | 2017 | 2016 | 2015 | 2014 | 2013 | 2012 | 2011 | 2010
Permit: SP-4830
SP-4830 | Total DWP Diversions (af) | 36066.4467 | 46937.57 | 40092 | 23870.2 | 31475 | 62620.8 | 48301 | 65776 | 61274 | 48702 | 56606.68 | 39929 | 43080 | 41281 | 42804
SP-4830 | SJC Water Diverted (af) | 18033.223 | 23468.785 | 20046 | 11935.1 | 16452 | 31310.42 | 30710 | 32888 | 30637 | 24351 | 28743.5 | 21335 | 27556 | 20640.5 | 21402
SP-4830 | Rio Grande Water Diverted (af) | 18033.223 | 23468.785 | 20046 | 11935.1 | 15023 | 31310.38 | 17591 | 32888 | 30637 | 24351 | 27863.18 | 18594 | 15524 | 20640.5 | 21402
SP-4830 | SJC DWP Exchange Diversions (af) | 2259.21 | 9577.4 | 992.11 | 0 | 0 | 5736 | 0 | 4496 | 0 | 0 | 0 | 0 | 0 | 0 | 2245
SP-4830 | SJC DWP Non-Exchange Diversions (af) | 15774.013 | 13891.385 | 19053.89 | 11935.1 | 16452 | 25574.42 | 30710 | 28392 | 30637 | 24351 | 28743.5 | 21335 | 27556 | 20640.5 | 19157
SP-4830 | SJC Releases from Abiquiu for DWP (af) | 17081.902 | 14914 | 20396.03 | 13699 | 22964 | 28362.64 | 46108 | 32176 | 33489 | 26213.55 | 32901.36 | 26037 | 33349 | 25492 | 21149
SP-4830 | Conveyance Losses, Abiquiu to POD (af) | 517.17 | 548.13 | 592.26 | 434.27 | 980 | 1216.62 | 2257 | 1463 | 1458 | 1267.7 | 1437.49 | 994 | 1661.03 | 1017.43 | 1061.5
SP-4830 | SJC Over/Under Releases (af) | 790.719 | 474.485 | 749.88 | 1329.63 | 5532 | 1571.61 | 13141 | 2321 | 1394 | 594.85 | 2720.37 | 3708 | 4131.97 | 3834.07 | 930
SP-4830 | SJC Available for Offsets (af) | 790.719 | 474.485 | 749.88 | 1329.63 | 5532 | 1571.61 | 13141 | 2321 | 1394 | 594.85 | 2720 | 3000 | 3000 | — | —
SP-4830 | Undiverted SJC Releases Approved — Offset SP-4819 (af) | 790.719 | 474.485 | 749.88 | 1329.63 | 2968 | 1571.61 | 3028 | 2321 | 1394 | 595 | 2720 | 2614 | 2866 | 2614 | 930
SP-4830 | SP-4830 Balance / Balance Req. Offset (af) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1094 | 134 | 1220.07 | 0
Permit: SP-4819
SP-4819 | Total SP-4819 Diversions (af) | 2934.5734 | 2444.3 | 2181.2 | 1311.6 | 2968 | 2971 | 3028 | 2890 | 2849 | 2638 | 2794 | 2614 | 2866 | 2614 | 2295
SP-4819 | Undiverted SP-4830 Releases for Offset (af) | 790.719 | 474.485 | 749.88 | 1329.63 | 2968 | 1571.61 | 3028 | 2321 | 1394 | 595 | 2720 | 2614 | 2866 | 2614 | 930
SP-4819 | SP-4819 Balance Requiring Offset (af) | 2143.854 | 1969.815 | 1431.32 | 0 | 0 | 1399.39 | 0 | 569 | 1455 | 2043 | 74 | 0 | 0 | 0 | 1365
SP-4819 | SP-4819 Diversions Recharged via USR-2 (af) | 457.1685 | 261.4 | 338.42 | 120.6 | 87 | 271.5 | 378.9 | 292 | 271 | 370 | 152 | 0 | 0 | 0 | 596
Permit: RG-4462
RG-4462 | Total RG-4462 Diversions (af) | 4295.2672 | 3939.6 | 3734.4 | 3957.8 | 2939 | 3095 | 2336 | 3482 | 2403 | 2550 | 3104 | 3867 | 3917 | 5022 | —
RG-4462 | RG-4462 Stream Depletions (af) | 3236.307 | 3253.178 | 3314.6 | 3316.76 | 3379 | 3436 | 3452 | 3513 | 3735 | 3945.7 | 4078 | 4102 | 4148 | 4072 | —
RG-4462 | Acquired Water Rights — RG-4462 (af) | 1261.62 | 1261.62 | 1261.62 | 1261.62 | 1261.62 | 1261 | 1261 | 1261 | 1261 | 1261 | 1261 | 1261 | 1261 | 1261 | —
RG-4462 | Total RG-4462 Return Flow (af) | 2416.716 | 2427.135 | 2425.3 | 2354.1 | 1469 | 1493 | 1220 | 1280 | 938 | 1165 | 1056 | 1714 | 2887 | 2830 | —
RG-4462 | RG-4462 Balance Requiring Offset (af) | 0 | 0 | 0 | 0 | 648.38 | 682 | 971 | 972 | 1536 | 1519.7 | 1761 | 1127 | 0 | 0 | —
Permit: RG-960
RG-960 | Total RG-960 Diversions (af) | 48975.8 | 42015.8 | 47348.1 | 66557.7 | 59442 | 24499.9 | 41252 | 25328 | 30432 | 37856.5 | 36147 | 52050 | 55592.65 | 57152 | 60181
RG-960 | RG-960 Stream Depletions — Modeled (af) | 52561.3 | 52930.8 | 54655.4 | 56234.6 | 54739 | 52480.8 | 55741 | 56106 | 58532 | 60627 | 62380 | 64359 | 65444 | 65686 | 71062
RG-960 | Metered Net/Gross Return Flow (af) | 46735.447 | 47944.8 | 48068.3 | 47442.7 | 47317 | 50600 | 53530 | 52975 | 53418 | 51995.6 | 51840 | 54148 | 56946.7 | 54865 | 58025
RG-960 | SP-4830 Native RG Diversions Returned (af) | 18033.223 | 23468.785 | 20046 | 11935.1 | 15023 | 31310.38 | 17591 | 32888 | 30637 | 24351 | 27863.18 | 18594 | 15524 | 20640.5 | 21402
RG-960 | Return Flow from De-watering at SWRP (af) | — | — | — | — | — | — | — | 540 | — | — | — | — | — | — | —
RG-960 | Return Flow Offset (af) | 28702.224 | 24476.015 | 28022.3 | 35507.6 | 32294 | 19289.62 | 35939 | 19547 | 22781 | 27644.6 | 23976.82 | 35554 | 41422.7 | 34224.5 | 36623
RG-960 | Vested & Acquired Pre-Basin GW Rights (af) | 20630 | 20630 | 20630 | 20630 | 20630 | 20630 | 20630 | 20630 | 20630 | 20630 | 20630 | 20630 | 20630 | 20630 | 20630
RG-960 | Acquired Pre-1907 Surface Water Rights (af) | 4530 | 4530 | 4530 | 4530 | 4530 | 4523 | 4523 | 4523 | 4523 | 4406 | 4406 | 4380 | 4380 | 3927 | 3072
RG-960 | Un-diverted DWP SJC Releases — RG-960 Credit (af) | 0 | 0 | 0 | 0 | 2564 | 0 | 10113 | 0 | 0 | 0 | 0 | 1094 | 134 | 1220 | 0
RG-960 | Total RG-960 Offsets (af) | 53862.224 | 49636.015 | 53182.3 | 60667.6 | 60018 | 44442.62 | 71205 | 44700 | 47934 | 52680.6 | 49012.82 | 61658 | 66566.7 | 60001.5 | 60325
RG-960 | RG-960 Balance Requiring Offset (af) | 0 | 3294.785 | 1473.1 | 0 | 0 | 8038.18 | 0 | 11406 | 10598 | 7946.4 | 13367.18 | 2701 | 0 | 5684.5 | -10737
Permit: USR-2
USR-2 | USR-2 Prior Year Balance in Storage (af) | 2351.558 | 2098 | 1770 | 1652.6 | 1572.7 | 1406 | 1038 | 754 | 501 | 1208 | — | — | — | — | —
USR-2 | USR-2 Total Recharge to Subsurface (af) | 457.1685 | 261.4 | 338.42 | 120.6 | 87 | 271.5 | 378.85 | 292 | 271 | 370 | 152 | 0 | 0 | 0 | 596
USR-2 | USR-2 Total Recoverable Water in Storage (af) | 2795.011 | 2351.558 | 2098.27 | 1769.58 | 1657.09 | 1669.36 | 1405.48 | 1038 | 764 | 1578 | — | — | — | — | —
USR-2 | USR-2 Amount Recovered (af) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1077 | — | — | — | — | —
USR-2 | USR-2 End of Year Balance in Storage (af) | 2795.011 | 2351.558 | 2098.27 | 1769.58 | 1657.09 | 1669.36 | 1405.48 | 1038 | 764 | 501 | — | — | — | — | —
Permit: USR-4
USR-4 | USR-4 Total Recharge to Subsurface (af) | 172.5 | 2031.4 | 1546.8 | 918.98 | 587.12 | 111.44 | — | — | — | — | — | — | — | — | —
USR-4 | USR-4 Total Recoverable Water in Storage (af) | 171.982 | 2025.306 | 1542.16 | 915.47 | 584.61 | 110.36 | — | — | — | — | — | — | — | — | —
USR-4 | USR-4 Amount Recovered (af) | 0 | 248.2 | 232.7 | 1.9 | 7.08 | 0 | — | — | — | — | — | — | — | — | —
USR-4 | USR-4 Prior Year Balance in Storage (af) | 4677.1058 | 2900 | 1591 | 677.12 | 71.1 | — | — | — | — | — | — | — | — | — | —
USR-4 | USR-4 End of Year Balance in Storage (af) | 4849.088 | 4677.106 | 2900.46 | 1590.69 | 648.63 | 1669.36 | — | — | — | — | — | — | — | — | —
Permit: TOTALS
TOTALS | Total Offset Required (af) | 2143.854 | 5264.6 | 2904.42 | 0 | 648.38 | 10119.57 | 971 | 12947 | 13589 | 11509.1 | 15202.18 | 3828 | 0 | 5684.5 | —

## 2010
2010 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 42804
2 | SJC DWP Diversions | 21402
3 | Rio Grande water DWP Diversions | 21402
4 | SJC DPW Diversions pursuant to approved exchange operations | 2245
5 | SJC DPW non-exchange Diversions | 19157
6 | SJC Releases from Abiquiu for DWP | 21149
7 | Conveyance Losses, Abiquiu to POD | 1061.5
8 | Undiverted SJC Releases | 930
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 930
10 | Balance of Undiverted DWP SJC Releases | 0
11 | Total 4819 Diversions | 2295
12 | Undiverted 4830 Releases Approved for Offset | 930
13 | Balance Requiring Offset | 1365
14 | 4819 Diversions Recharged via USR-2 | 596
15 | Total RG-960 Diversions | 60181
16 | 2009 RG-960 Stream Depletions | 71062
17 | Metered net return flow | 58025
18 | 4830 native Rio Grande diversions returned to river | 21402
19 | Return flow offset | 36623
20 | Vested and acquired gw rights | 20630
21 | Acquired pre-1907 surface water rights not under leaseback | 3072
22 | Total offsets | 60325
23 | Depetions versus Offsets | -10737
24 | Total recharge to subsurface | 596
25 | Amount of recharge approved for recovery | 0

## 2011
2011 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 41281
2 | SJC DWP Diversions | 20640.5
3 | Rio Grande water DWP Diversions | 20640.5
4 | SJC DWP Diversions pursuant to approved exchange operations | 0
5 | SJC DWP non-exchange Diversions | 20640.5
6 | SJC Releases from Abiquiu for DWP | 25492
7 | Conveyance Losses, Abiquiu to POD | 1017.43
8 | Undiverted SJC Releases | 3834.07
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 2614
10 | Balance of Undiverted DWP SJC Releases | 1220.07
11 | Total 4819 Diversions | 2614
12 | Undiverted 4830 Releases Approved for Offset | 2614
13 | Balance Requiring Offset | 0
14 | 4819 Diversions Recharged via USR-2 | 0
2011 RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 5022
16 | 2011 RG-4462 Stream Depletions | 4072
17 | Acquired Pre-1907 Surface Water Rights (not under leaseback) | 1261
18 | Total RG-4462 Return Flow | 2830
19 | Balance Requiring Offset | 0
20 | Total RG-960 Diversions | 57152
21 | 2011 RG-960 Stream Depletions | 65686
22 | Metered net return flow | 54865
23 | 4830 native Rio Grande diversions returned to river | 20640.5
24 | Return flow offset | 34224.5
25 | Vested and acquired gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 3927
27 | Un-diverted DWP SJC releases not credited above | 1220
28 | Total offsets | 60001.5
29 | Balance Requiring Offset | 5684.5
30 | Total recharge to subsurface | 0
31 | Amount of recharge approved for recovery | 0
32 | Total Offset Required | 5684.5

## 2012
2012 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 43080
2 | SJC Water Diverted | 27556
3 | Rio Grande Water Diverted | 15524
4 | SJC DWP Diversions pursuant to approved exchange operations | 0
5 | SJC DWP non-exchange Diversions | 27556
6 | SJC Releases from Abiquiu for DWP | 33349
7 | Conveyance Losses, Abiquiu to POD | 1661.035
8 | SJC Over Releases | 4131.965
8a | SJC Available for Offsets | 3000
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 2866
10 | Balance of DWP SJC Releases availabel for other offsets | 134
11 | Total 4819 Diversions | 2866
12 | Undiverted 4830 Releases Approved for Offset | 2866
13 | Balance Requiring Offset | 0
14 | 4819 Diversions Recharged via USR-2 | 0
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 3917
16 | 2012 RG-4462 Stream Depletions | 4148
17 | Acquired Water Rights (not under leaseback) | 1261
18 | Total RG-4462 Return Flow | 2887
19 | Balance Requiring Offset | 0
20 | Total RG-960 Diversions | 55592.65
21 | 2012 RG-960 Stream Depletions | 65444
22 | Metered net return flow | 56946.7
23 | 4830 native Rio Grande diversions returned to river | 15524
24 | Return flow offset | 41422.7
25 | Vested and acquired pre-basin gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 4380
27 | Un-diverted DWP SJC releases not credited above | 134
28 | Total offsets | 66566.7
29 | Balance Requiring Offset | 0
30 | Total recharge to subsurface | 0
31 | Amount of recharge approved for recovery | 0
32 | Total Offset Required | 0

## 2013
2013 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 39929
2 | SJC Water Diverted | 21335
3 | Rio Grande Water Diverted | 18594
4 | SJC DWP Diversions pursuant to approved exchange operations | 0
5 | SJC DWP non-exchange Diversions | 21335
6 | SJC Releases from Abiquiu for DWP | 26037
7 | Conveyance Losses, Abiquiu to POD | 994
8 | SJC Over Releases | 3708
8a | SJC Available for Offsets | 3000
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 2614
10 | Balance of DWP SJC Releases availabel for other offsets | 1094
11 | Total 4819 Diversions | 2614
12 | Undiverted 4830 Releases Approved for Offset | 2614
13 | Balance Requiring Offset | 0
14 | 4819 Diversions Recharged via USR-2 | 0
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 3867
16 | 2013 RG-4462 Stream Depletions | 4102
17 | Acquired Water Rights (not under leaseback) | 1261
18 | Total RG-4462 Return Flow | 1714
19 | Balance Requiring Offset | 1127
20 | Total RG-960 Diversions | 52050
21 | 2013 RG-960 Stream Depletions | 64359
22 | Metered net return flow | 54148
23 | 4830 native Rio Grande diversions returned to river | 18594
24 | Return flow offset | 35554
25 | Vested and acquired pre-basin gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 4380
27 | Un-diverted DWP SJC releases not credited above | 1094
28 | Total offsets | 61658
29 | Balance Requiring Offset | 2701
30 | Total recharge to subsurface | 0
31 | Amount of recharge approved for recovery | 0
32 | Total Offset Required | 3828

## 2014
2014 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 56606.68
2 | SJC Water Diverted | 28743.5
3 | Rio Grande Water Diverted | 27863.18
4 | SJC DWP Diversions pursuant to approved exchange operations | 0
5 | SJC DWP non-exchange Diversions | 28743.5
6 | SJC Releases from Abiquiu for DWP | 32901.358
7 | Conveyance Losses, Abiquiu to POD | 1437.491
8 | SJC Over Releases | 2720.367
8a | SJC Available for Offsets | 2720
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 2720
10 | Balance of DWP SJC Releases availabel for other offsets | 0
11 | Total 4819 Diversions | 2794
12 | Undiverted 4830 Releases Approved for Offset | 2720
13 | Balance Requiring Offset | 74
14 | 4819 Diversions Recharged via USR-2 | 152
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 3104
16 | 2014 RG-4462 Stream Depletions | 4078
17 | Acquired Water Rights (not under leaseback) | 1261
18 | Total RG-4462 Return Flow | 1056
19 | Balance Requiring Offset | 1761
20 | Total RG-960 Diversions | 36147
21 | 2014 RG-960 Stream Depletions | 62380
22 | Metered net return flow | 51840
23 | 4830 native Rio Grande diversions returned to river | 27863.18
24 | Return flow offset | 23976.82
25 | Vested and acquired pre-basin gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 4406
27 | Un-diverted DWP SJC releases not credited above | 0
28 | Total offsets | 49012.82
29 | Balance Requiring Offset | 13367.18
30 | Total recharge to subsurface | 152
31 | Amount of recharge approved for recovery in 2014 | 0
32 | Total Offset Required | 15202.18

## 2015
2015 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 48702
2 | SJC Water Diverted | 24351
3 | Rio Grande Water Diverted | 24351
4 | SJC DWP Diversions pursuant to approved exchange operations | 0
5 | SJC DWP non-exchange Diversions | 24351
6 | SJC Releases from Abiquiu for DWP | 26213.554
7 | Conveyance Losses, Abiquiu to POD | 1267.705
8 | SJC Over Releases | 594.849
8a | SJC Available for Offsets | 594.849
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 595
10 | Balance of DWP SJC Releases availabel for other offsets | 0
11 | Total 4819 Diversions | 2638
12 | Undiverted 4830 Releases Approved for Offset | 595
13 | Balance Requiring Offset | 2043
14 | 4819 Diversions Recharged via USR-2 | 370
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 2550
16 | 2014 RG-4462 Stream Depletions | 3945.7
17 | Acquired Water Rights (not under leaseback) | 1261
18 | Total RG-4462 Return Flow | 1165
19 | Balance Requiring Offset | 1519.7
20 | Total RG-960 Diversions | 37856.5
21 | 2014 RG-960 Stream Depletions | 60627
22 | Metered net return flow | 51995.6
23 | 4830 native Rio Grande diversions returned to river | 24351
24 | Return flow offset | 27644.6
25 | Vested and acquired pre-basin gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 4406
27 | Un-diverted DWP SJC releases not credited above | 0
28 | Total offsets | 52680.6
29 | Balance Requiring Offset | 7946.4
30 | End of Prior Year Balance in Storage | 1208
31 | Total recharge to subsurface during 2015 | 370
32 | Total Recoverable Water in Storage | 1578
33 | Amount recovered in 2015 | 1077
34 | End of Current Year Balance in Storage | 501
35 | Total Offset Required | 11509.1

## 2016
2016 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 61274
2 | SJC Water Diverted | 30637
3 | Rio Grande Water Diverted | 30637
4 | SJC DWP Diversions pursuant to approved exchange operations | 0
5 | SJC DWP non-exchange Diversions | 30637
6 | SJC Releases from Abiquiu for DWP | 33489
7 | Conveyance Losses, Abiquiu to POD | 1458
8 | SJC Over Releases | 1394
8a | SJC Available for Offsets | 1394
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 1394
10 | Balance of DWP SJC Releases availabel for other offsets | 0
11 | Total 4819 Diversions | 2849
12 | Undiverted 4830 Releases Approved for Offset | 1394
13 | Balance Requiring Offset | 1455
14 | 4819 Diversions Recharged via USR-2 | 271
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 2403
16 | RG-4462 Stream Depletions | 3735
17 | Acquired Water Rights (not under leaseback) | 1261
18 | Total RG-4462 Return Flow | 938
19 | Balance Requiring Offset | 1536
20 | Total RG-960 Diversions | 30432
21 | RG-960 Stream Depletions | 58532
22 | Metered net return flow | 53418
23 | 4830 native Rio Grande diversions returned to river | 30637
24 | Return flow offset | 22781
25 | Vested and acquired pre-basin gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 4523
27 | Un-diverted DWP SJC releases not credited above | 0
28 | Total offsets | 47934
29 | Balance Requiring Offset | 10598
30 | End of Prior Year Balance in Storage | 501
31 | Total recharge to subsurface during 2016 | 271
32 | Total Recoverable Water in Storage | 764
33 | Amount recovered in 2016 | 0
34 | End of Current Year Balance in Storage | 764
35 | Total Offset Required | 13589

## 2017
2017 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 65776
2 | SJC Water Diverted | 32888
3 | Rio Grande Water Diverted | 32888
4 | SJC DWP Diversions pursuant to approved exchange operations | 4496
5 | SJC DWP non-exchange Diversions | 28392
6 | SJC Releases from Abiquiu for DWP | 32176
7 | Conveyance Losses, Abiquiu to POD | 1463
8 | SJC Over/Under Releases | 2321
8a | SJC Available for Offsets | 2321
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 2321
10 | Balance Requiring Offset | 0
11 | Total 4819 Diversions | 2890
12 | Undiverted 4830 Releases Approved for Offset | 2321
13 | Balance Requiring Offset | 569
14 | 4819 Diversions Recharged via USR-2 | 292
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 3482
16 | RG-4462 Stream Depletions | 3513
17 | Acquired Water Rights (not under leaseback) | 1261
18 | Total RG-4462 Return Flow | 1280
19 | Balance Requiring Offset | 972
20 | Total RG-960 Diversions | 25328
21 | RG-960 Stream Depletions | 56106
22 | Metered net return flow | 52975
23 | 4830 native Rio Grande diversions returned to river | 32888
24 | Reurn flow from de-watering at SWRP | 540
25 | Return flow offset | 19547
26 | Vested and acquired pre-basin gw rights | 20630
27 | Acquired pre-1907 surface water rights not under leaseback | 4523
28 | Un-diverted DWP SJC releases not credited above | 0
29 | Total offsets | 44700
30 | Balance Requiring Offset | 11406
31 | End of Prior Year Balance in Storage | 754
32 | Total recharge to subsurface during 2017 | 292
33 | Total Recoverable Water in Storage | 1038
34 | Amount recovered in 2017 | 0
35 | End of Current Year Balance in Storage | 1038
36 | Total Offset Required | 12947

## 2018
2018 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 48301
2 | SJC Water Diverted | 30710
3 | Rio Grande Water Diverted | 17591
4 | SJC DWP Diversions pursuant to approved exchange ops | 0
5 | SJC DWP non-exchange Diversions | 30710
6 | SJC Releases from Abiquiu for DWP | 46108
7 | Conveyance Losses, Abiquiu to POD | 2257
8 | SJC Over/Under Releases | 13141
8a | SJC Available for Offsets | 13141
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 3028
10 | Balance Requiring Offset | 0
11 | Total 4819 Diversions | 3028
12 | Undiverted 4830 Releases Approved for Offset | 3028
13 | Balance Requiring Offset | 0
14 | 4819 Diversions Recharged via USR-2 | 378.9
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 2336
16 | RG-4462 Stream Depletions | 3452
17 | Acquired Water Rights (not under leaseback) | 1261
18 | Total RG-4462 Return Flow | 1220
19 | Balance Requiring Offset | 971
20 | Total RG-960 Diversions | 41252
21 | RG-960 Stream Depletions | 55741
22 | Metered net return flow | 53530
23 | 4830 native Rio Grande diversions returned to river | 17591
24 | Return flow offset | 35939
25 | Vested and acquired pre-basin gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 4523
27 | Un-diverted DWP SJC releases not credited above | 10113
28 | Total offsets | 71205
29 | Balance Requiring Offset | 0
30 | End of Prior Year Balance in Storage | 1038
31 | Total recharge to subsurface during 2018 | 378.85
32 | Total Recoverable Water in Storage | 1405.485
33 | Amount recovered in 2018 | 0
34 | End of Current Year Balance in Storage | 1405.485
35 | Total Offset Required | 971

## 2019
2019 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 62620.8
2 | SJC Water Diverted | 31310.42
3 | Rio Grande Water Diverted | 31310.38
4 | SJC DWP Diversions pursuant to approved exchange ops | 5736
5 | SJC DWP non-exchange Diversions | 25574.42
6 | SJC Releases from Abiquiu for DWP | 28362.645
7 | Conveyance Losses, Abiquiu to POD | 1216.617
8 | SJC Over/Under Releases | 1571.608
8a | SJC Available for Offsets | 1571.608
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 1571.608
10 | Balance Requiring Offset | 0
11 | Total 4819 Diversions | 2971
12 | Undiverted 4830 Releases Approved for Offset | 1571.608
13 | Balance Requiring Offset | 1399.392
14 | 4819 Diversions Recharged via USR-2 | 271.5
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 3095
16 | RG-4462 Stream Depletions | 3436
17 | Acquired Water Rights (not under leaseback) | 1261
18 | Total RG-4462 Return Flow | 1493
19 | Balance Requiring Offset | 682
20 | Total RG-960 Diversions | 24499.9
21 | RG-960 Stream Depletions | 52480.8
22 | Metered net return flow | 50600
23 | 4830 native Rio Grande diversions returned to river | 31310.38
24 | Return flow offset | 19289.62
25 | Vested and acquired pre-basin gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 4523
27 | Un-diverted DWP SJC releases not credited above | 0
28 | Total offsets | 44442.62
29 | Balance Requiring Offset | 8038.18
30 | End of Prior Year Balance in Storage | 1406
31 | Total recharge to subsurface | 271.5
32 | Total Recoverable Water in Storage | 1669.355
33 | Amount recovered | 0
34 | End of Current Year Balance in Storage | 1669.355
35 | Total recharge to subsurface | 111.44
36 | Total Recoverable Water in Storage | 110.36
36 | Amount recovered | 39.27
37 | Total Amount in Storage | 71.1
38 | Total Offset Required | 10119.572

## 2020
2020 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 31475
2 | SJC Water Diverted | 16452
3 | Rio Grande Water Diverted | 15023
4 | SJC DWP Diversions pursuant to approved exchange ops | 0
5 | SJC DWP non-exchange Diversions | 16452
6 | SJC Releases from Abiquiu for DWP | 22964
7 | Conveyance Losses, Abiquiu to POD | 980
8 | SJC Over/Under Releases | 5532
8a | SJC Available for Offsets | 5532
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 2968
10 | Balance Requiring Offset | 0
11 | Total 4819 Diversions | 2968
12 | Undiverted 4830 Releases Approved for Offset | 2968
13 | Balance Requiring Offset | 0
14 | 4819 Diversions Recharged via USR-2 | 87
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 2939
16 | RG-4462 Stream Depletions | 3379
17 | Acquired Water Rights (not under leaseback) | 1261.62
18 | Total RG-4462 Return Flow | 1469
19 | Balance Requiring Offset | 648.38
20 | Total RG-960 Diversions | 59442
21 | RG-960 Stream Depletions | 54739
22 | Metered net return flow | 47317
23 | 4830 native Rio Grande diversions returned to river | 15023
24 | Return flow offset | 32294
25 | Vested and acquired pre-basin gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 4530
27 | Un-diverted DWP SJC releases not credited above | 2564
28 | Total offsets | 60018
29 | Balance Requiring Offset | 0
30 | End of Prior Year Balance in Storage | 1572.7
31 | Total recharge to subsurface | 87
32 | Total Recoverable Water in Storage | 1657.09
33 | Amount recovered | 0
34 | End of Current Year Balance in Storage | 1657.09
35 | Total recharge to subsurface | 587.12
36 | Total Recoverable Water in Storage | 584.609
37 | Amount recovered | 7.08
38 | Amount in Storage End of Prior Year | 71.1
39 | End of Current Year Balance in Storage | 648.629
40 | Total Offset Required | 648.38

## 2021
2021 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 23870.2
2 | SJC Water Diverted | 11935.1
3 | Rio Grande Water Diverted | 11935.1
4 | SJC DWP Diversions pursuant to approved exchange ops | 0
5 | SJC DWP non-exchange Diversions | 11935.1
6 | SJC Releases from Abiquiu for DWP | 13699
7 | Conveyance Losses, Abiquiu to POD | 434.27
8 | SJC Over/Under Releases | 1329.63
8a | SJC Available for Offsets | 1329.63
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 1329.63
10 | Balance Requiring Offset | 0
11 | Total 4819 Diversions | 1311.6
12 | Undiverted 4830 Releases Approved for Offset | 1329.63
13 | Balance Requiring Offset | 0
14 | 4819 Diversions Recharged via USR-2 | 120.6
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 3957.8
16 | RG-4462 Stream Depletions | 3316.761
17 | Acquired Water Rights (not under leaseback) | 1261.62
18 | Total RG-4462 Return Flow | 2354.1
19 | Balance Requiring Offset | 0
20 | Total RG-960 Diversions | 66557.7
21 | RG-960 Stream Depletions | 56234.6
22 | Metered net return flow | 47442.7
23 | 4830 native Rio Grande diversions returned to river | 11935.1
24 | Return flow offset | 35507.6
25 | Vested and acquired pre-basin gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 4530
27 | Un-diverted DWP SJC releases not credited above | 0
28 | Total offsets | 60667.6
29 | Balance Requiring Offset | 0
30 | End of Prior Year Balance in Storage | 1652.6
31 | Total recharge to subsurface | 120.6
32 | Total Recoverable Water in Storage | 1769.582
33 | Amount recovered | 0
34 | End of Current Year Balance in Storage | 1769.582
35 | Total recharge to subsurface | 918.98
36 | Total Recoverable Water in Storage | 915.473
37 | Amount recovered | 1.9
38 | Amount in Storage End of Prior Year | 677.12
39 | End of Current Year Balance in Storage | 1590.693
40 | Total Offset Required | 0

## 2022
2022 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
1 | Total DWP Diversions | 40092
2 | SJC Water Diverted | 20046
3 | Rio Grande Water Diverted | 20046
4 | SJC DWP Diversions pursuant to approved exchange ops | 992.11
5 | SJC DWP non-exchange Diversions | 19053.89
6 | SJC Releases from Abiquiu for DWP | 20396.03
7 | Conveyance Losses, Abiquiu to POD | 592.26
8 | SJC Over/Under Releases | 749.88
8a | SJC Available for Offsets | 749.88
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 749.88
10 | Balance Requiring Offset | 0
11 | Total 4819 Diversions | 2181.2
12 | Undiverted 4830 Releases Approved for Offset | 749.88
13 | Balance Requiring Offset | 1431.32
14 | 4819 Diversions Recharged via USR-2 | 338.42
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 3734.4
16 | RG-4462 Stream Depletions | 3314.6
17 | Acquired Water Rights (not under leaseback) | 1261.62
18 | Total RG-4462 Return Flow | 2425.3
19 | Balance Requiring Offset | 0
20 | Total RG-960 Diversions | 47348.1
21 | RG-960 Stream Depletions | 54655.4
22 | Metered gross return flow | 48068.3
23 | 4830 native Rio Grande diversions returned to river | 20046
24 | Return flow offset | 28022.3
25 | Vested and acquired pre-basin gw rights | 20630
26 | Acquired pre-1907 surface water rights not under leaseback | 4530
27 | Un-diverted DWP SJC releases not credited above | 0
28 | Total offsets | 53182.3
29 | Balance Requiring Offset | 1473.1
30 | End of Prior Year Balance in Storage | 1770
31 | Total recharge to subsurface | 338.42
32 | Total Recoverable Water in Storage | 2098.267
33 | Amount recovered | 0
34 | End of Current Year Balance in Storage | 2098.267
35 | Total recharge to subsurface | 1546.8
36 | Total Recoverable Water in Storage | 1542.16
37 | Amount recovered | 232.7
38 | Amount in Storage End of Prior Year | 1591
39 | End of Current Year Balance in Storage | 2900.46
40 | Total Offset Required | 2904.42

## 2023
Table 1
2023 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
SP-4830 ACCOUNTING
1 | Total DWP Diversions | 46937.57 | SP-4830 Diversions Sheet
2 | SJC Water Diverted | 23468.785
3 | Rio Grande Water Diverted | 23468.785 | Row 1 - Row 2; Assumes returned to river at Southside WWTP.
4 | SJC DWP Diversions pursuant to approved exchange ops | 9577.4 | See letters re: flood control operations & Abiquiu Reservoir Maintenance
5 | SJC DWP non-exchange Diversions | 13891.385 | Equal to Row 2 - Row 4
6 | SJC Releases from Abiquiu for DWP | 14914 | Final 2023 URGWOM Accounting Model (April 16, 2024)
7 | Conveyance Losses, Abiquiu to POD | 548.13 | Loss Accounting Spreadsheet (per permit condition #7)
8 | SJC Over/Under Releases | 474.485 | Equal to Row 6 - Row 7 - Row 5
8a | SJC Available for other permit offsets | 474.485 | Over release capped at 3,000 af unless approved by the OSE due to extenuating circumstances
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 474.485 | Equal to Row 8a up to 3,000 AF
10 | Balance Requiring Offset | 0
SP-4819 ACCOUNTING
11 | Total 4819 Diversions | 2444.3 | ABCWUA Monthly Production Report
12 | Undiverted 4830 Releases Approved for Offset | 474.485 | Equal to Row 9
13 | Balance Requiring Offset | 1969.815 | Equal to Row 11 - Row 12
14 | 4819 Diversions Recharged via USR-2 | 261.4 | ABCWUA Monthy Production Report
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 3939.6 | ABCWUA Monthly Production Report
16 | RG-4462 Stream Depletions | 3253.1783 | Glover-Balmer Method using response function
17 | Acquired Water Rights (not under leaseback) | 1261.62 | ABCWUA Cumulative WR leaseback and SW/GW
18 | Total RG-4462 Return Flow | 2427.135 | ABCWUA Monthly Production Report
19 | Balance Requiring Offset | 0 | Equal to Row 16 - Row 17 -Row 18
RG-960 ACCOUNTING
20 | Total RG-960 Diversions | 42015.8 | ABCWUA Monthly Production Report & Individual Well Report .
21 | RG-960 Stream Depletions | 52930.8 | Modeled depletions; see OSE Memo dated August 29, 2024.
22 | Metered gross return flow excluding RG-4462 RF | 47944.8 | ABCWUA Monthly Production Report
23 | 4830 native Rio Grande diversions returned to river | 23468.785 | Equal to Row 3; No return flow credit granted for this water
24 | Return flow offset | 24476.015 | Equal to Row 22 - Row 23
25 | Vested and acquired pre-basin gw rights | 20630 | ABCWUA Cumulative Consumptive Use Water Rights Report
26 | Acquired pre-1907 surface water rights not under leaseback | 4530 | ABCWUA Cumulative Consumptive Use Water Rights Report
27 | Un-diverted DWP SJC releases not credited above | 0 | Equal to Row 8a - Row 9
28 | Total offsets | 49636.015 | Equal to Rows 24 + 25 + 26 + 27.
29 | Balance Requiring Offset | 3294.785 | Equal to Row 21 - Row 28
USR-2 ACCOUNTING
30 | End of Prior Year Balance in Storage | 2098 | Based on value from ABCWUA's USR-2 Re-Accounting, 2022
31 | Total recharge to subsurface | 261.4 | Equal to Row 14
32 | Total Recoverable Water in Storage | 261.4 | Equal to Row 30 + (Row 31 x .97)
33 | Amount recovered | 2351.558 | ABCWUA Monthly Production Report
34 | End of Current Year Balance in Storage | 2351.558 | Equal to Row 32 - 33
USR-4 ACCOUNTING
35 | Total recharge to subsurface | 2031.4 | ABCWUA Monthly Production Report
36 | Total Recoverable Water in Storage | 2025.306 | Equal to (Row 35 x .997)
37 | Amount recovered | 248.2 | ABCWUA Monthly Production Report
38 | Amount in Storage End of Prior Year | 2900 | Based on value from ABCWUA's USR-4 Accounting, 2022
39 | End of Current Year Balance in Storage | 4677.106 | Equal to Row 36-Row 37 + Row 38
Total Offset Required
40 | Total Offset Required | 5264.6 | Equal to Row 10 + Row 13 + Row 19 + Row 29

## 2024
Table 1
2024 ABCWUA Comprehensive Permit Accounting
Row | Item | Amount (af) | Notes
SP-4830 ACCOUNTING
1 | Total DWP Diversions | 36066.4467 | Taken from DWP Report
2 | SJC Water Diverted | 18033.223
3 | Rio Grande Water Diverted | 18033.223 | Row 1 - Row 2; Assumes returned to river at Southside WWTP.
4 | SJC DWP Diversions pursuant to approved exchange ops | 2259.21 | See letters re: flood control operations & Abiquiu Reservoir Maintenance
5 | SJC DWP non-exchange Diversions | 15774.013 | Equal to Row 2 - Row 4
6 | SJC Releases from Abiquiu for DWP | 17081.902 | From DWP Reports
7 | Conveyance Losses, Abiquiu to POD | 517.17 | Loss Accounting Spreadsheet (per permit condition #7)
8 | SJC Over/Under Releases | 790.719 | Equal to Row 6 - Row 7 - Row 5
8a | SJC Available for other permit offsets | 790.719 | Over release capped at 3,000 af unless approved by the OSE due to extenuating circumstances
9 | Undiverted SJC Releases Approved for Offset of SP-4819 | 790.719 | Equal to Row 8a up to 3,000 AF
10 | Balance Requiring Offset | 0
SP-4819 ACCOUNTING
11 | Total 4819 Diversions | 2934.5734 | ABCWUA Monthly Production Report
12 | Undiverted 4830 Releases Approved for Offset | 790.719 | Equal to Row 9
13 | Balance Requiring Offset | 2143.855 | Equal to Row 11 - Row 12
14 | 4819 Diversions Recharged via USR-2 | 457.1685 | ABCWUA Monthy Production Report
RG-4462 ACCOUNTING
15 | Total RG-4462 Diversions | 4295.2672 | ABCWUA Monthly Production Report
16 | RG-4462 Stream Depletions | 3236.307 | Glover-Balmer Method using response function
17 | Acquired Water Rights (not under leaseback) | 1261.62 | ABCWUA Cumulative WR leaseback and SW/GW
18 | Total RG-4462 Return Flow | 2416.7155 | ABCWUA Monthly Production Report
19 | Balance Requiring Offset | 0 | Equal to Row 16 - Row 17 -Row 18
RG-960 ACCOUNTING
20 | Total RG-960 Diversions | 48975.8 | ABCWUA Monthly Production Report & Individual Well Report .
21 | RG-960 Stream Depletions | 52561.3 | Modeled depletions; see OSE Memo dated September 23, 2025.
22 | Metered gross return flow excluding RG-4462 RF | 46735.4467 | ABCWUA Monthly Production Report
23 | 4830 native Rio Grande diversions returned to river | 18033.223 | Equal to Row 3; No return flow credit granted for this water
24 | Return flow offset | 28702.224 | Equal to Row 22 - Row 23
25 | Vested and acquired pre-basin gw rights | 20630 | ABCWUA Cumulative Consumptive Use Water Rights Report
26 | Acquired pre-1907 surface water rights not under leaseback | 4530 | ABCWUA Cumulative Consumptive Use Water Rights Report
27 | Un-diverted DWP SJC releases not credited above | 0 | Equal to Row 8a - Row 9
28 | Total offsets | 53862.224 | Equal to Rows 24 + 25 + 26 + 27.
29 | Balance Requiring Offset | 0 | Equal to Row 21 - Row 28
USR-2 ACCOUNTING
30 | End of Prior Year Balance in Storage | 2351.558 | Based on value from ABCWUA's USR-2 Re-Accounting, 2022
31 | Total recharge to subsurface | 457.1685 | Equal to Row 14
32 | Total Recoverable Water in Storage | 457.168 | Equal to Row 30 + (Row 31 x .97)
33 | Amount recovered | 2795.011 | ABCWUA Monthly Production Report
34 | End of Current Year Balance in Storage | 2795.011 | Equal to Row 32 - 33
USR-4 ACCOUNTING
35 | Total recharge to subsurface | 172.5 | ABCWUA Monthly Production Report
36 | Total Recoverable Water in Storage | 171.982 | Equal to (Row 35 x .997)
37 | Amount recovered | 0 | ABCWUA Monthly Production Report
38 | Amount in Storage End of Prior Year | 4677.1058 | Based on value from ABCWUA's USR-4 Accounting, 2022
39 | End of Current Year Balance in Storage | 4849.088 | Equal to Row 36-Row 37 + Row 38
Total Offset Required
40 | Total Offset Required | 2143.855 | Equal to Row 10 + Row 13 + Row 19 + Row 29